| HAZARD IDENTIFICATION AND CONTROL MEASURES: |  |  |
| --- | --- | --- |
| Step 1 Identify significant hazards | Step 2 Identify who might be harmed and how | Step 3 Identify precautionary measures already in place |

| List of significant hazards (something with the potential to cause harm) | Who might be harmed? | Type of harm | Existing controls (Actions already taken to control the risk) |
| --- | --- | --- | --- |
| Slips and trips when using indoor facilities at the Village Hall. e.g. uneven surfaces, floor cleaning, toys from children's crèche etc. | Parish council members Members of the public Visitors | Slips/trips/ sprains/collisions | - Good lighting in all rooms, corridors and hall. - Users aware of the need (through hire agreement) to clear up spillages immediately and aware of where the equipment for this (mops etc.) is kept. - Mats to be placed at entrances to prevent rainwater being carried in. - Corridors and fire exits should not be obstructed - No trailing electrical leads. - Cleaner/site supervisor to use anti-slip cleaning products. - Regular inspection regime in place with all inspections being recorded. |
| Working at height e.g. putting up decorations etc. | Parish Council members Volunteers Caretaker | Sprains, broken limbs, or the potential for a fatality resulting in a fall from a height. | - Appropriate, commercial stepladder/ladders securely stored and available for use. - Stepladder/ladder only to be used by competent and authorised personnel. - Stepladder/ladder subject to regular and recorded inspections. - Contractors to be used for tasks which require specialist equipment/skills i.e. fixing flower tubs to lamp posts etc. |
| Vehicle movement/ car parking | Parish Council members Volunteers Organisers Visitors Members of the public | Serious injury such as broken limbs, crushing or even fatality if struck by a moving vehicle, particularly when reversing. | - Speed limit signage clearly displayed. - Temporary traffic cones appropriately placed, if necessary. - Police/highways liaised with for large events – e.g. Rose Queen and Remembrance Sunday. |
| Hazardous substances i.e. cleaning products, bleach etc. | Caretaker/cleaner Others who may use a cleaning product to clear up a spillage Visitors who may accidentally come into contact with substances | Skin problems i.e. dermatitis, eye damage from direct contact with substances, breathing problems from vapours. Accidental ingestion. | - Mops, brushes and rubber gloves (Personal Protective Equipment) provided. - Cleaner/site supervisor instructed on the safe use of products i.e. follow users instructions, dilute properly, use in well ventilated areas and never transfer to unmarked containers. - Cleaning products stored appropriately and securely. - Minimum amount of cleaning products kept on site. - COSH assessment should be undertaken where appropriate |
| Electricity | Parish Council members Other hall users Caretaker/cleaner Visitors Contractors | Users risk electric shock or burns from faulty equipment or installation. | - Fixed installations correctly installed, maintained and repaired by qualified electrician. - Fixed installation regularly inspected – legal requirement is for every 5 years. - New portable appliances (kettles, strimmers, drills etc.) all carry the CE mark and are entered into an electrical items log book. - Portable equipment visually checked by users before use. - All Parish Council owned portable appliances (kettles, vacuum cleaners etc) to be tested at appropriate intervals to comply with current legislation. - Hall users know (via their hire agreement) that they are responsible for any equipment used on site. - Any extension cables to external appliances are suitably waterproofed and protected. - Any cables are suitably covered or marked to prevent them being a trip hazard. |
| Stored equipment i.e. trestle tables, chairs, play equipment etc | Parish Council members Caretaker/cleaner Volunteers Hall users | Users could be injured by collapsing stacks. | - Nesting chairs stacked no more than 8 high. - Nesting tables stacked no more than 6 high. - Users are aware .(via the terms of the hire agreement) of the above requirements. - Collapsible tables and chairs secured in a safe manner |
| Fire | Parish council members Caretaker/cleaner Volunteers Hall users Contractors | Fatality, serious burns, smoke/toxic fumes inhalation. | - Fire risk assessment in place. - Regular and recorded checks of means of escape routes, at least annually - Clear signage showing escape routes. - Action on discovering a fire notices clearly displayed in the premises and included in the hire agreement and explained during new user induction. - Appropriate fire extinguishers/hose reels in situ and checked regularly and serviced to comply with current legislation.. . |
| First aid provision | Parish council members Caretaker/cleaner Volunteers Visitors members of the public | Any of the injuries referred to in the risk assessment document | - First aid needs risk assessment carried out to determine the level of first aid cover required. - For large events - sufficient trained first aiders (may be qualified volunteers or organisations such as St John's Ambulance) on site to deal with likely injuries. - Sufficient first aid boxes, fully stocked with in date first aid items. - Signage informing public where first aid is available is clearly displayed. - Ensure first aid information should be part of hire agreements |
| Disposal of waste | Parish council members Caretaker/cleaner Volunteers Visitors members of the public | Vermin Infestation Public hygiene Slips and trips | - Arrangements with local council for the disposal of any waste classed as hazardous i.e. light tubes, medical waste etc. - Waste disposal procedures risk assessed if the current arrangement changes. - All relevant people to be briefed on arrangements (through Booking Form Terms and conditions) that waste must be removed at the end of each event. |
| Adverse/wet/windy weather | Parish council members Volunteers Visitors/members of the public | Slips/trips Electrocution Exceeding fire capacity of buildings | - For example the Rose Queen - consider alternative venues, possibly under cover at the Village Hall. - Assess on the day whether activities are safe to go ahead in wet weather i.e. bouncy castle or any attraction requiring electricity from a building via an extension cable. - Make sure that if the event needs to be continued indoors the safe occupancy of the building is not exceeded. - Ensure tents/marquees and bouncy castles and inflatable slides etc. are securely anchored. Should winds get too high do not allow their use. - Review the situation during the course of the event and make any necessary decisions as to the safety of attractions. |
| Noise | Parish council members Volunteers Visitors/members of the public | Stress Temporary or long term Hearing damage | - For noisy attractions and events (i.e. live bands etc) consideration to be given to the wellbeing of local residents; particularly if operating/playing into the evening. - Consider if the noise is likely to affect the ability to convey any emergency announcements to the public (such as the need to evacuate the area, or lost children announcements). |
| Erecting tents/awnings etc (e.g Rose Queen) | Parish council members Volunteers Visitors/members of the public | Manual handling injuries Crush injuries (should the tent etc collapse | - Large marquees to be hired from a competent provider and erected and taken down by them. - Other tents etc. to be self- erected should supervised by a competent person with sufficient help. - All tents/awnings etc. securely anchored. - Tent pegs/pickets and guy ropes to be inspected annually and before each use to check for integrity. |
| Access to Emergency Services | Parish council members Volunteers Visitors/members of the public | Any of the injuries referred to in the risk assessment document | - Defibrillator mounted outside the front of the Village Hall with ongoing training to be provided to local residents. - Telephone box by the Bus Stop with Landline access to Emergency Services by the phone |

I certify that the risk assessment above fully applies to the Kettleshulme Memorial Hall.

Signed: 						Name:					          For and on behalf of Kettleshulme Parish Council.

| Action to be Taken (if required) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Hazard | ## Action required | ## Person(s) to undertake action? | Projected time scale | Notes / comments | Date ## completed |

I certify that the risk assessment above fully applies to the Kettleshulme Memorial Hall.

Signed: 						Name:					          For and on behalf of Kettleshulme Parish Council.